Sample project special: 210rws

08-01-05

REVISION OF SECTION 2l0

RESET WATER SERVICE

Section 2l0 of the Standard Specifications is hereby revised for this project as follows:

Subsection 2l0.02 shall include the following:

Reset Water Service consists of removing the existing water meter and meter pit and installing a new water meter and meter pit at locations shown on the plans.

Subsection 2l0.12 shall include the following:

Reset Water Service will be measured by the actual number reset and shall include all work and materials necessary to remove items from their existing location and reset them at the new location and to install the new water meter.

Subsection 2l0.13 shall include the following:

Pay Item					Pay Unit

Reset Water Service		Each