April 30, 2009

REVISION OF SECTIONS 627 AND 708

PAVEMENT MARKING WITH WATERBORNE PAINT
AND LOW VOC SOLVENT BASE PAINT

NOTICE

This is a standard special provision that revises or modifies CDOT’s Standard Specifications for Road and Bridge Construction.  It has gone through a formal review and approval process and has been issued by CDOT’s Project Development Branch with formal instructions for its use on CDOT construction projects.  It is to be used as written without change.  Do not use modified versions of this special provision on CDOT construction projects, and do not use this special provision on CDOT projects in a manner other than that specified in the instructions unless such use is first approved by CDOT’s Standards and Specifications Unit.  The instructions for use on CDOT construction projects appear below.

Other agencies which use the Standard Specifications for Road and Bridge Construction to administer construction projects may use this special provision as appropriate and at their own risk.

Instructions for use on CDOT construction projects:

Use on projects having pavement marking paint.

April 30, 2009

1

REVISION OF SECTIONS 627 AND 708

PAVEMENT MARKING WITH WATERBORNE PAINT

AND LOW VOC SOLVENT BASE PAINT

Sections 627 and 708 of the Standard Specifications are hereby revised for this project as follows:

Delete subsection 627.04 and replace with the following:

627.04 	Pavement Marking with Waterborne and Low Volatile Organic Compound (VOC) Solvent Base Paint.  Striping shall be applied when the air and pavement temperatures are no less than 45 °F for waterborne paint and no less than 40 °F for low VOC solvent base paint on asphalt or portland cement concrete pavements.  The pavement surface shall be dry and clean.  Surface cleaning shall be required when there is deicing material on the road.  Weather conditions shall be conducive to satisfactory results.

The Contractor shall utilize equipment that meets the following requirements, as approved:

- Equipment shall permit traffic to pass safely within the limits of the roadway surface and shoulder while operating.

- Equipment shall be designed for placement of both solid and broken line stripes with a reasonably clean-edged stripe of the width and location as shown on the contract and no overspray on the road surface.

- Equipment shall have a glass bead dispenser directly behind, synchronized with the paint applicator.  Each applicator shall have individual control and automatic skip control that will paint a strip with a gap as shown in the contract.

- The equipment may be equipped with a heat exchanger to heat the paint to reduce drying time.

- The operation shall include a trailing vehicle equipped with a flashing arrow board.

The Contractor shall prevent traffic from crossing a wet stripe.  Stripes which have been marred or picked up by traffic before they have dried shall be repaired at the Contractor’s expense.  Removal of paint from vehicles that crossed wet paint shall be at the Contractor’s expense.

The water-based paint and stripes shall fall within the following minimum and maximum ranges:

|  | DESCRIPTION | MINIMUM | MAXIMUM |
| --- | --- | --- | --- |
| Alignment | Lateral Deviation | N/A | 2.0 inch per 200 ft |
| Paint | Coverage rate per gallon of paint | 100 sq. ft | 110 sq. ft |
|  | Thickness | 15 mil | N/A |
|  | Width of painted lines | 4 inch | N/A |
|  | Width Variance | N/A | 1/4 inch |
| Water-Based Paint | Dry time to no tracking conditions | N/A | 90 seconds |
| Low VOC Paint | Dry time to no tracking conditions | N/A | 5 minutes |
| Beads | Application rate per gallon of paint | 5 lbs 3 oz | 6 lbs 3 oz |

April 30, 2009

2

REVISION OF SECTIONS 627 AND 708

PAVEMENT MARKING WITH WATERBORNE PAINT

AND LOW VOC SOLVENT BASE PAINT

Subsection 627.13 shall include the following:

#### Pay Item	Pay Unit

Pavement Marking Paint (Waterborne)					Gallon

Pavement Marking Paint (Low VOC Solvent Base)		Gallon

Delete subsection 708.01 and replace with the following:

708.01 General.  This specification covers ready-mixed paints and coatings.  Paints and coatings shall be manufactured eight weeks or less prior to delivery to the project. Each paint container shall be labeled with the name and address of the manufacturer, trade name or trademark, type of paint, number of gallons, batch number, and date of manufacture.

Paints shall be free of foreign material that is capable of clogging screens, valves, pumps, and other parts of the application equipment.  Paint shall not contain the following:

- Benzene

- Chlorinated solvents

- Ethylene glycol ethers

- Ethylene glycol acetates

- Lead

- Mercury

- Chromium

- Cadmium

- Petroleum products

The Contractor shall obtain certification in writing from the manufacturer showing that the product is free of the materials described above and that it meets or exceeds the requirements of 29 CFR 1910.1200.

Paints shall not form a surface skin within 48 hours in three-quarter filled, tightly closed containers.  Paint and coating pigments shall be lead free, and shall not thicken, become granular, or curdle in their containers.

Volatile Organic Compound (VOC) levels for paints and coatings shall comply with the most current EPA regulations.  All product compositional proportions are specified by weight.  Material Safety Data Sheets and manufacturer’s recommended application instruction sheets representing each paint and coating shall be submitted to the Engineer for the project records prior to use.

Delete subsection 708.05 and replace with the following:

708.05 Pavement Marking Materials.  Pavement marking materials shall be selected from the Department’s Approved Products List (APL). Prior to start of work, a Certified Test Report (CTR) for all pavement marking materials shall be submitted  in accordance with subsection 106.13.

April 30, 2009

3

REVISION OF SECTIONS 627 AND 708

PAVEMENT MARKING WITH WATERBORNE PAINT

AND LOW VOC SOLVENT BASE PAINT

For white paint, the color after drying shall be a flat-white, free from tint, and shall provide the maximum amount of opacity and visibility under both daylight and artificial light.  For yellow paint, the Federal Standard 595B shall be used to designate colors and the ASTM E308 shall be used to quantitatively define colors.  After drying, the yellow paint shall visually match Federal Standard 595B color chip number 33538, and shall be within 6 percent of central color, PR-1 Chart, where x = 0.5007 and y = 0.4555 (The four pairs of chromaticity coordinates determine the acceptable color in terms of the CIE 1931 Standard Colorimetric System measured with Standard Illuminant D65.)  The Contractor shall submit the exact formulation of the paint for approval by the Engineer.  The paint shall not be used until written approval has been received from the Engineer

(a)	Low VOC Solvent Base Paint.   Low VOC Paint shall be ready mixed, and shall be capable of being applied to Asphalt or Portland Cement Concrete Pavements.

- Acrylic Waterborne Paint.   Acrylic waterborne paint shall be a lead-free, 100 percent Acrylic resin polymer waterborne product. The finished product shall maintain its consistency during application at temperatures compatible with conventional equipment.

Waterborne paint shall meet all of the following requirements:

Performance Requirements: The paint shall be water resistant and shall show no softening, blistering or loss in gloss.

April 30, 2009

4

REVISION OF SECTIONS 627 AND 708

PAVEMENT MARKING WITH WATERBORNE PAINT 
AND LOW VOC SOLVENT BASE PAINT

ACRYLIC WATERBORNE PAINT

| Property | Minimum | Maximum | Test Method |
| --- | --- | --- | --- |
| Composition Requirements |  |  |  |
| Nonvolatile portion of vehicle (white and yellow), % | 43.0 |  | FTMS 141C - Method 4031 or Method 4053.1 |
| Pigment Composition |  |  |  |
| (white and yellow), % by weight♦ | 58.0 | 62.0 | ASTM D 4451 ASTM D 3723 |
| White Paint |  |  |  |
| Titanium Dioxide Content,% | 80 |  | ASTM D 476, Type III |
| Total Carbonate,% | 94 |  | ASTM D 1199, Type GC |
| Yellow Paint |  |  |  |
| Titanium Dioxide Content,% | 80 |  | ASTM D 476, Type III |
| Total Carbonate,% | 94 |  | ASTM D 1199, Type GC |
| Organic Yellow Pigments,% | 5.0 |  |  |
| Yellow Iron Oxide, % | 83 |  | ASTM D 768 |
| Properties of the Finished Paint |  |  |  |
| Total Non-volatiles, (solids) % by weight |  |  |  |
| White Paint, % | 77.0 |  | FTMS 141C - Method 4053.1, |
| Yellow Paint, % | 76.0 |  | ASTM D 2369, or ASTM D 4758 |
| Density, lbs/gal ■ |  |  |  |
| White Paint | 14.0 |  | ASTM D 1475 using U.S. Standard weight per gallon cup as defined in U.S. Military Standard 4566A |
| Yellow Paint | 13.7 |  |  |
| Consistency (Viscosity) White and Yellow, Krebs-Stormer Units | 85 | 95 | ASTM D 562 |
| Freeze Thaw Stability | Shall complete 5 or more test cycles successfully | ASTM D 2243 |
| Fineness of Grind, Cleanliness Rating B | 3 |  | ASTM D 1210 |
| Hydrogen ion content: pH | 9.6 |  | ASTM E 70 |
| Directional Reflectance: [15 mil Wet Film] |  |  | ASTM E 1347 |
| White, dried | 85 |  |  |
| Yellow, dried | 50 |  |  |
| Dry Opacity (Contrast Ratio): [15 mil Wet Film] |  |  | ASTM D 2805 |
| White Paint | 0.95 |  |  |
| Yellow Paint | 0.88 |  |  |
| ♦Percent by weight shall include percent of organic yellow pigment. ■Density shall not vary more than 0.3 lbs/gal between batches. |