Sample project special: 206sb

02-03-11

REVISION OF SECTION 206

STRUCTURE BACKFILL

Section 206 of the Standard Specifications is hereby revised for this project as follows:

Subsection 206.02(a) shall include the following:

At the Contractor's option Structure Backfill (Special) meeting the following gradation requirements may be substituted for Structure Backfill (Class 1) or (Class 2) for backfilling culvert pipes, sewer pipes, and minor inlet structures, but not the bridge:

  **% By Weight**

 **Sieve Designation Passing Square Mesh Sieves**

 9.5 mm (3/8 inch) 100

 4.75 mm (No. 4) 60 ‑ 90

 2.36 mm (No. 8) 0 ‑ 45

 1.18 mm (No. 16) 0 ‑ 25

 300 m (No. 50) 0 ‑ 6

 75 m (No. 200) 0 ‑ 2

Subsection 206.03 shall include the following:

Compaction of Structure Backfill will not be required if Structure Backfill (Special) is used.

The Contractor may substitute Structure Backfill (Special) for the required embankment material in trench backfilling operations; however, the top 1 foot shall be the required embankment material.