Section 206 of the Standard Specifications is hereby revised:

###### The 2nd paragraph in Subsection 206.09 shall be revised as follows:

When the height of shoring exceeds 5 feet above the base of the excavation, the Contractor shall submit working drawings in accordance with subsection 105.02. The drawings shall be submitted to the Engineer for information only. The drawings shall be electronically signed and sealed by the Contractor’s Engineer. The Contractor shall design for internal and external stability of temporary shoring such as but not limited to bearing capacity, settlement, sliding, overturning, internal compound stability, and global stability. All proof and verification testing of the shoring elements shall be the responsibility of the Contractor and results shall be reported to the Engineer the day after the testing was performed.

###### The 5th paragraph in Subsection 206.09 shall be revised as follows:

The Contractor shall have performed and documented an independent review of their shoring design and drawings at designated areas prior to submittal. The independent review shall be electronically stamped and sealed by a Professional Engineer licensed in the State of Colorado.

###### The last paragraph in Subsection 206.09 shall be revised as follows:

The Contractor’s Engineer may assign an on-site representative, to perform construction field oversight, by submitting documentation of experience to the Engineer ten days prior to starting shoring construction for review and the Engineer’s acceptance. Prior to placing construction or traffic loads on or immediately adjacent to the supported earth, the Contractor’s Engineer for the shoring shall certify in an electronically stamped and signed letter that shoring materials and construction have been inspected and that all shoring, materials, and construction are in conformity with the shoring drawings. A copy of this certification shall be submitted to the Engineer.