Section 208 of the Standard Specifications is hereby revised for this project as follows:

Delete subsection 208.10(b) and replace with the following:

- Survey.  When Permanent Water Quality (PWQ) control measures are required on the project and once built, the Contractor shall survey the control measures to confirm that the PWQ control measures conform to the configuration, grade, and volume shown on the plans.  The survey shall conform to Section 625.  The results of the survey shall be submitted in accordance with CDOT’s Survey Manual (AutoCAD to GIS and TMOSS Codes), or GIS with attribute tables, showing both designed and final elevations and configurations.  Paper versions of the drawings shall be submitted with the stamp and seal of the Contractor’s Surveyor.

PWQ control measures that do not meet the Contract requirements will be identified in writing by the Engineer, and shall be repaired or replaced at the Contractor’s expense. Correction surveys shall be performed at the Contractor’s expense to confirm the locations, dimensions, and volume certification (for water quality capture volume structures only) of each PWQ control measure.  The Engineer, CDOT Hydraulics Engineer for the region, Headquarters Permanent Water Quality Manager, and Headquarters Maintenance staff will perform a walkthrough of the PWQ control measures to confirm conformance to material requirements, locations, and dimensions. Before the walkthrough, the Contractor shall provide the corrected survey to the Engineer, Regional, and Headquarters Permanent Water Quality Managers.