# Utilities

## Known utilities within the limits of this project are:

## -OR- The following utilities are within the limits of this project but are not expected to be involved.

♦

♦

♦

The work described in these plans and specifications requires coordination between the Contractor and the utility companies per subsection 105.11 in conducting their respective operations as necessary to complete the utility work with minimum delay to the project.

The work listed below shall be performed by the Contractor per the plans and specifications, and as directed by the Engineer.  The Contractor shall keep each utility company advised of any work being done to its facility, so that the utility company can coordinate its inspections for final acceptance of the work with the Engineer.

FOR:

▲

The work listed below will be performed by the utility owners or their agents:

♥

General:

The Contractor shall comply with Article 1.5 of Title 9, CRS ("Excavation Requirements") when excavation or grading is planned in the area of underground utility facilities.  The Contractor shall notify all affected utilities at least two (2) business days, not including the day of notification, before commencing such operations.  The Contractor shall contact the Utility Notification Center of Colorado (UNCC) at  (8-1-1) or 1-800-922-1987 to have locations of UNCC registered lines marked by member companies.  All other underground facilities shall be located by contacting the respective company.  Utility service laterals shall also be located before beginning excavating or grading.

The location of utility facilities as shown on the plan and profile sheets, and herein described, were obtained from the best available information.

All costs incidental to the foregoing requirements will not be paid for separately but shall be included in the work.

*******************************************************************************************

Instruction to Designers (delete instruction and symbols from final draft):

♦	List the known utilities.

▲	List the utility work to be done by the Contractor and the utilities for whom it is to be done.

♥	List the utilities and the work they will do in coordination with the project.