PERMANENT CHANGES TO PROJECT DATED SPECIAL PROVISIONS

**REVISION OF SECTION** 601 STRUCTURAL CONCRETE
(GROOVED PATTERN FINISH)

DATE AUTHOR DESCRIPTION OF CHANGE

1/3/95 ??? New Specification

5/9/96 SLW Editorial Corrections

9/30/1999 M. Nord Verified the specification references for conformance with the *1999 Colorado DOT Standard Specifications for Road and Bridge Construction*.

 No exceptions were found.

 Converted to Microsoft Word 97 SR-2

04.11.2023 M. Kayen Revisions to make spec online ADA-compliant. 5.22.23 Additional ADA.

**Revise Section 601 of the Standard Specifications for this project as follows:**

**Subsection 601.09 shall include the following:**

An approved elastomeric form liner that will produce a grooved pattern finish shall be used in the designated portions of retaining walls. The form liner shall be furnished with a coating of an approved, non-petroleum base, factory-applied form release agent. After fastening the form liner to the form, an additional coat of manufacturer's recommended (only approved non-petroleum base may be used) form release agent shall be applied to the liner before and for each pour of concrete. Adjacent sections of the form liner shall be butted together to produce a good mortar tight joint. All grooves shall line up in the vertical direction. The form liner shall be securely fastened to the forms with staples or nails, or other approved methods.

Form ties shall be inserted through the form liner by cutting a cross-shaped slit in the liner. Before reuse of the form liner on adjacent wall sections, slits in the form liner that do not coincide with new tie spacing shall be sealed with a plastic tape which will adhere securely to the surface of the form liner.

The Contractor will be responsible to assure that whenever any discontinuances of the grooved pattern, or whenever any lines interrupting or intersecting the grooved pattern, are called for on the plans, that the resulting lines, horizontal, diagonal, vertical or otherwise, are neat and true, and that the form liner is not unduly deflected in any direction, including the form liner at the interface between the form liner and any other interrupting or intersecting line.

**Subsection 601.09(f) shall include the following:**

Forms to which a form liner is to be attached shall not be treated with oil.

**Section 601.14(a) shall include the following:**

A grooved pattern surface finish as designated on the plans shall be used on the designated portions of concrete walls.

The Contractor shall furnish samples at the job site measuring 4 feet by 10 feet for approval, at least two weeks before use. The final samples must receive the Engineer's written approval before the finish can be incorporated into the work. These samples are to remain undisturbed on the project until project acceptance.

For all walls or panels requiring a grooved pattern on the exposed surface which are less than 10 feet in height, the form liner producing the pattern shall be one continuous piece extending the full height of the wall or panel. For all other walls, no section of the form liner may be less than 10 feet in height except for one section which may be required to extend the form liner to full height.

Horizontal joints in adjacent form liner sections shall be offset by no less than one foot vertically. The form liners shall be properly aligned to limit visible horizontal and vertical joints in the concrete.

The required groove pattern finish shall extend from the bottom of wall or top of wall footing to the top of wall or bottom of wall coping or cap, or as otherwise shown on the plans. Grooves shall be continuous with no apparent curves or discontinuances. Variation of the groove from true vertical shall not exceed 1/4 inch for each 10 feet of wall height.

Concrete for such walls shall be poured monolithically vertically unless otherwise provided in the plans or permitted in writing by the Engineer. Concrete finish shall be per Revision of Section 601 - Structural Concrete Coating and shall be required for the full height of the grooved pattern finish to one foot below ground line.

**Subsection 601.18 shall include the following:**

Construction of grooved pattern surface finish on concrete walls will not be paid for separately but shall be included in the work.