**REVISION OF SECTION 614**

**TELEMETRY (FIELD)**

Section 614 of the Standard Specifications is hereby revised for this project as follows:

**Subsection 614.01 shall include the following:**

This work shall consist of the installation of wireless phone communication system for the purpose of remote dial-up communication and operation of the proposed Blankout Sign(s). The design shall be approved prior to the equipment being ordered.

**Subsection 614.05 shall include the following:**

Installation of the Wireless Phone Communication System shall be done in accordance with these specifications and the manufacture’s recommendations.

**Add subsection 614.06; which shall include the following:**

1. *General Description* -This specification sets forth the minimum requirements. The Contractor shall furnish and install Wireless Phone Communication System as indicate on the plans and as described herein. Sign messages shall be as shown in the plans. All Equipment furnished and installed shall be new and capable of remote telephone dial-up communications for the purpose of activating (on/off) the Blankout L.E.D. sign(s)
2. *Functional Characteristics* - The Wireless Phone Communication System design shall be approved prior to ordering any equipment.

**Subsection 614.13 shall include the following:**

Telemetry (Field) will be measured by the number of Wireless Phone Communication Systems complete in place, tested, functioning, and accepted; and shall include all labor and materials required to provide a fully functioning system at the locations described herein.

**Subsection 614.14 shall include the following:**

Pay Item Pay Unit

Telemetry (Field) Each